**Hambledon Village Hall Legionella Risk Assessment**

Address:

Hambledon Village Hall

West Street

Hambledon

Hampshire

PO7 4RW

Date of Self Assessment; 1st August 2022

**Survey and record of systems using water by the village hall users:**

|  |  |  |  |
| --- | --- | --- | --- |
| Location | System | Water Source | Risk Level |
|  |  |  |  |
| Kitchen | Washing up sink - Cold  | Mains | Low |
|  | Washing up sink - Hot  | Immersion tank | Low |
|  | Hand wash sink - Cold | Mains | Low |
|  | Hand wash sink - Hot | Immersion tank | Low |
|  | Dishwasher - Cold feed | Mains | Low |
|  |  |  |  |
| Female Toilets | 3 no WC's- Cold feed  | Mains | Low |
|  | 2 no Hand wash sinks - Cold | Mains | Low |
|  | 2 no Hand wash sinks - Hot | Zip Aqua Heater - Mains | Low |
|  | Zip Aqua water Heater -Cold | Mains | Low |
|  |  |  |  |
| Male Toilets  | 1 no WC - Cold feed | Mains | Low |
|  | 2 no Urinals - Cold feed | Mains | Low |
|  | 1 no Hand wash sink - Cold | Mains | Low |
|  | Concept water heater  | Mains | Low |
|  |  |  |  |
| Disabled Toilet  | 1 no WC - Cold feed | Mains | Low |
|  | 1 no Hand wash sink - Cold | Mains | Low |
|  | Heatrae Sadia water heater  | Mains | Low |
|  |  |  |  |
|  |  |  |  |

All water systems are used on a regular basis and use mains supplied water, the only stored water is the immersion heater tank located in the roof space above the kitchen, the water in this tank is refreshed on a daily basis due to the use in the kitchen.

There are no water basis heating or cooling systems with the village hall.

**Conclusion :**

From the survey and the assessment it is deemed that the village hall has a **Low** risk of Legionella .